{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["树障隐患明细","1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"树障隐患明细","index":0,"n_rows":50,"n_cols":11,"rows_kept":50,"flags":["formulas_cached_only"]}
["序号","管辖供电所","所属乡镇","所属村委会","隐患类型","所属线路","树障地点","树种","树障与线行距离","需政府如何协调","备注"]
[1,"保安供电所","保安镇","栋头村委会","树障","10kV良塘线新运来猪场支线","#1杆-#20杆","松树","3米内","协调民事工作"]
[2,"东陂供电所","丰阳镇","大富头村委会","树障","10kV东陂线主干线","#19杆至#25杆","松树、杉树、香花树","2米内","协调民事工作"]
[3,"连州九陂供电所","连州镇","高堆村委会","树障","10kV白石线高堆新寨支线","#2-#3","松树","3米内","协调民事工作"]
[4,"连州九陂供电所","连州镇","白云村委会","树障","10kV龙口线主干线","#7-#13杆、#16-#18、#29-#30-2、#43-#49、#83-#96","桉树","3米内","协调民事工作"]
[5,"连州九陂供电所","连州镇","元潭村委会","树障","10kV龙口线六角潭支线","#8-#9","榕树","3米内","协调民事工作"]
[6,"连州九陂供电所","连州镇","满地村委会","树障","10kV龙口线满地分线","#22-#23","竹","3米内","协调民事工作"]
[7,"连州九陂供电所","连州镇","白云村委会、满地村委会","树障","10kV白高线主干线","#1至#47杆","桉树","1米内","协调民事工作"]
[8,"连州九陂供电所","连州镇","共和村委会","树障","10kV白高线沙坊冲支线","#30至#35杆","桉树","2米内","协调民事工作"]
[9,"连州九陂供电所","连州镇","昆陂村委会","树障","10kV白高线龙颈村支线","#7至#9塔","竹","3米内","协调民事工作"]
[10,"连州九陂供电所","连州镇","城北村委会","树障","10kV白水线主干线","#10至#39杆","竹、杂树","3米内","协调民事工作"]
[11,"龙坪西江供电所","龙坪镇","东村村委","树障","10kV东田冲线联络支线","#3-#5","松树，桉树","3米内","协调民事工作"]
[12,"龙坪西江供电所","龙坪镇","东村村委","树障","10kV东田冲线杨塘支线","#35-#36、#45-#53","松树，桉树","3米内","协调民事工作"]
[13,"龙坪西江供电所","龙坪镇","青石村委","树障","10kV水浸塘线石塘支线","#26-#42、#48-#49、#52-#53","松树","5米内","协调民事工作"]
[14,"龙坪西江供电所","龙坪镇","石桥村委","树障","10kV朝天线石桥支线","#28杆-#30杆","樟树","5米内","协调民事工作"]
[15,"龙坪西江供电所","龙坪镇","东村村委","树障","10kV东田冲线水吊岭支线","#1-#4杆","松树，桉树","5米内","协调民事工作"]
[16,"龙坪西江供电所","西江镇","大田村委","树障","10kV高山线主干线","#114-#120杆","板栗树","5米内","协调民事工作"]
[17,"龙坪西江供电所","龙坪镇","青石村委","树障","10kV水浸塘线邓屋支线","#50-#52杆","松树","5米内","协调民事工作"]
[18,"龙坪西江供电所","龙坪镇","太坪村委","树障","10kV水浸塘线沙坳支线","#9-#13杆","松树","5米内","协调民事工作"]
[19,"龙坪西江供电所","龙坪镇","朝天村委","树障","10kV朝天线小水洞支线","#1-#41杆","松树，桉树","5米内","协调民事工作"]
[20,"龙坪西江供电所","龙坪镇","朝天村委","树障","10kV朝天线新良支线","#22-#62杆","松树","5米内","协调民事工作"]
[21,"龙坪西江供电所","西江镇","外塘村委","树障","10kV西江线西江一支线","#1-#11杆","绿化树","5米内","协调民事工作"]
[22,"龙坪西江供电所","西江镇","西江村委","树障","10kV西江线茅坪分线","#23-#25杆","松树","5米内","协调民事工作"]
[23,"龙坪西江供电所","龙坪镇","东村村委","树障","10kV东田冲线杨塘分线","#40-#53杆","松树，桉树","5米内","协调民事工作"]
[24,"龙坪西江供电所","龙坪镇","朝天村委","树障","10kV桐木冲线麻洞分线","#42-#44杆","松树","5米内","协调民事工作"]
[25,"龙坪西江供电所","龙坪镇","黄芒村委","树障","10kV麻步线赤塘环网分线","#3-#24杆","松树","5米内","协调民事工作"]
[26,"龙坪西江供电所","龙坪镇","袁屋村委","树障","10kV麻步线沙坪分线","#16-#37杆","松树","5米内","协调民事工作"]
[27,"龙坪西江供电所","九陂镇","龙潭村委","树障","10kV高山线宝山分线","#20-#179杆","松树","5米内","协调民事工作"]
[28,"龙坪西江供电所","西江镇","高山村委","树障","10kV高山线土地坛分线","#1-#11杆","银杏树","5米内","协调民事工作"]
[29,"龙坪西江供电所","西江镇","井塘村委","树障","10kV高山线蔡屋分线","#3-#5杆","松树","5米内","协调民事工作"]
[30,"龙坪西江供电所","保安镇","种田村委","树障","10kV龙星线种田分线","#36-#58杆","松树","5米内","协调民事工作"]
[31,"龙坪西江供电所","保安镇","麻北村委","树障","10kV龙星线田庄分线","#120-#130杆","松树","5米内","协调民事工作"]
[32,"龙坪西江供电所","龙坪镇","龙坪村委","树障","10kV龙坪线大坌分线","#25-#55","松树","5米内","与林业局协调清障工作"]
[33,"龙坪西江供电所","龙坪镇","龙坪村委","树障","10kV龙坪线新丰分线","#1-#12","松树","5米内","与林业局协调清障工作"]
[34,"龙坪西江供电所","保安镇","麻北村委","树障","10kV龙星线田庄支线","#120-#145","松树","5米内","协调民事工作"]
[35,"龙坪西江供电所","龙坪镇","朝天村委","树障","10kV桐木冲线湖塘支线","#64-#79","松树","5米内","协调民事工作"]
[36,"星子供电所","星子镇","上联村委会","树障","10kV清江线小塘家支线","#76杆至#94杆","松树、杉树、樟树、杂树","5米内","协调民事工作"]
[37,"星子供电所","星子镇","唐家村委会","树障","10kV清江线主干线","#124杆至#142杆","松树、杉树、樟树、杂树","5米内","协调民事工作"]
[38,"星子供电所","大路边镇","浦东村委会","树障","10kV潭岭线主干线","#97塔至#107塔","松树、樟树、杂树","5米内","协调民事工作"]
[39,"星子供电所","星子镇","水源村委会","树障","10kV昌黎线主干线","#49-#51","松树、杉树、杂树、樟树","5米内","协调民事工作"]
[40,"星子供电所","星子镇","马水村委会","树障","10kV昌黎线车田支线","#7-#19","松树、杉树、杂树、樟树","5米内","协调民事工作"]
[41,"星子供电所","星子镇","上庄村委会","树障","10kV新村线上庄支线","#19-#25","松树","5米内","协调民事工作"]
[42,"星子供电所","星子镇","东上村委会","树障","10kV清江线主干线","#67-#69","桂花树","3米内","协调民事工作"]
[43,"星子供电所","星子镇","新村委会","树障","10kV新村线新滂塘支线","#9杆至#16杆","松树、樟树","8米内","协调民事工作"]
[44,"星子供电所","星子镇","马水村委会","树障","10kV赤塘线冷水坑支线","#18至#22","松树、桉树","8米内","协调民事工作"]
[45,"星子供电所","龙坪镇","凤凰村委会","树障","10kV赤塘线上带支线","#13至#16","松树、桉树","5米内","协调民事工作"]
[46,"星子供电所","星子镇","周联村委会","树障","10kV清江线大广子支线","#95-#96","杉树","5米内","协调民事工作"]
[47,"星子供电所","星子镇","潭源村委会","树障","10kV潭岭线横水支线","#22杆至#25杆","松树","8米内","协调民事工作"]
[48,"星子供电所","星子镇","潭岭村委会","树障","10kV潭岭线潭岭大东山自然保护区支线支线","#12杆至#34杆","松树、杉树、杂树","8米内","协调民事工作"]
[49,"瑶安供电所","瑶族乡","田心村委会","树障","10kV瑶安甲线蚊子冲支线","新建天光山台区线行（田心及天光山区域）","杉树、毛竹","5米内","协调民事工作"]

{"sheet":"1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet2","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}